Regret. 1 for market research no. 192/2024

OFFER FORM

In response to market intelligence no. 192/2024 regarding the purchase and delivery of reagents and diagnostic kits specified in Parts 1 to 7 as part of the project "Design and development of nanoparticle-RNA based drugs to be used in anti-cancer therapy with the construction of a "nanoparticle platform for targeted delivery of therapeutic nucleic acids" I offer to perform the subject of the order in accordance with the conditions and deadlines included in the content of the order:

- CONTRACTOR DETAILS

| Name |  |
| --- | --- |
| Address |  |
| NIP |  |
| Contact details: phone no |  |
| Contact details: e-mail |  |

- PRICE CONDITIONS

| Order name | Net price | Gross price | Currency |
| --- | --- | --- | --- |
| SPE columns (2 packages of 200 pieces) with the following parameters: • SPE polymer bed; • grain size 33 μm; • pore size 85A; • various interaction mechanisms (pi-pi, hydrogen bonding, dipole-dipole, hydrophobic interaction); • pH resistance 1-14; • polymer modified with 2-pyrrolidone ligand; • bed mass 30 mg; • column volume 3 mL. |  |  |  |
| Chromatography column: 1.7 um, 110x2.1 mm (in a set with three pieces of pre-columns for UHPLC) - 1 piece with the following parameters: • filling type C18 organosilica (ethylene cross-linking) • core-shell (shell layer 0.23um), • column housing made of titanium-coated steel, • resistance to pH 1-12, pore size 100A, • area m2/g 200, • carbon coverage rate 11%, • pressure resistance 1050 Bar, • temperature resistance up to 60C |  |  |  |
| Mitoxantrone hydrochloride 60 mg x 4 • CAS number: 70476-82-3 • molecular weight 517.40 g/mol • tagged content • specific expiration date |  |  |  |
| Emetine hydrochloride |  |  |  |
| SUM: |  |  |  |

- BIDDER'S STATEMENTS

- I declare that there are no capital or personal connections between me and the Ordering Party.

- I declare that there are no grounds for exclusion from the proceedings pursuant to Art. 7 section 1 of the Act of April 13, 2022 on special solutions

- in the field of counteracting support for aggression against Ukraine and protecting national security (Journal of Laws, item 835)

- The selection of my offer will/will not (if applicable) result in the Ordering Party's tax liability (in the event of the circumstances referred to, please indicate the name and type of the goods whose delivery will lead to its creation, indicating its value without tax amounts).

- I declare that all information provided in this offer form is current and true and was presented with full awareness of the consequences of misleading the Ordering Party when presenting the information.

____________________________

Date and legible signature of the bidder

If you submit an offer for only one part, please indicate the part of your choice and complete it, leaving the subsequent fields blank.