## Część 1
Appendix 1.1 to 6_2026
PRODUCT RANGE AND PRICE FORM
PART 1
Lp | Subject of the contract | Manufacturer | catalogue number | jm | net unit price | net value | % VAT | unit price gross | gross value
1 | HEPA filter (2 pcs) • Replacement HEPA filter • Compatible with Agilent BioTek BioSPA 8 incubator • Air flow rate: 5 CFM • Air resistance: <0.44 inches • Efficiency: 99.97 (0.3 micron) • Reference product – catalogue number: 02126
gross total:
The reference products indicated in the description have been used as an aid to identify the composition of the product. If a product with equivalent characteristics is offered, the Contractor is obliged to submit, together with the offer, a detailed specification which should clearly show that the offered product has the same or better quality parameters than those specified by the Ordering Party.
The subject of the contract specified in the Product Range and Price Form has been prepared on the basis of an analysis of supplies within the framework of ongoing research, scientific projects and research, experimental and development programmes, etc., the continuation or comparison of research results, etc., of which requires the strict use of products from the same manufacturers. The names given in the description of the subject of the contract specify the standard required by the Ordering Party, which is necessary for the continuation of research and the need to compare the results of the determinations.
Place of delivery:
Biotechna SA
ul. Bohdana Dobrzańskiego 3, pok. 5A.-1.01, 20-262 Lublin