## Part 1
Appendix 1.1 to _16_2026
PRODUCT RANGE AND PRICE FORM
Lp | Subject of the contract | Manufacturer | catalog number | jm | net unit price | net value | % VAT | unit price gross | gross value
1 | HEPA filter (2 pcs) • Replacement HEPA filter • Compatible with Agilent BioTek BioSPA 8 incubator • Air flow rate: 5 CFM • Air resistance: <0.44 inches • Efficiency: 99.97 (0.3 microns) • Reference product – catalog number: 02126
suma brutto:
The subject of the contract specified in the Product Range and Price Form has been prepared on the basis of an analysis of deliveries within the framework of ongoing research, scientific projects, and research, experimental, and development programs, etc., the continuation or comparison of research results, etc., of which requires the strict use of products from the same manufacturers. The names given in the description of the subject of the contract specify the standard required by the Ordering Party, which is necessary for the continuation of research and the need to compare the results of the determinations.
Place of delivery:
Biotechna SA
ul. Bohdana Dobrzańskiego 3, pok. 5A.-1.01, 20-262 Lublin